All systems over 1000 Persons

REVISED TOTAL COLIFORM RULE (RTCR)

COLIFORM SAMPLING PLAN FOR ALL PUBLIC WATER SYSTEMS

SERVING A POPULATION OVER 1,000

| System Information |
| --- |
| System Name: | PWS Number: | System Type (check one): TNC NTNC Community |
| # of Service Connections (if there are only a few connections, also write in the total number of available sampling taps): | Source Water Type (check one): Groundwater Consecutive (purchased) Surface Water/4 Log Removal |
| System Population: |  |
| Number of Monthly Routine Samples Required: (based on population) 2 (1,001 – 2,500) 3 (2,501 – 3,300) 4 (3,301 – 4,100) 5 (4,101 – 4,900) 6 (4,901 – 5,800) |

Instructions for  completion: This form is  designed to be  completed  by all public drinking water systems serving a population over 1,000. Systems over 5,800 in population are authorized to submit a custom sampling plan identifying Routine Sampling Locations and either a) Repeat  locations  upstream  and  downstream  as  required on this form or b) pre-determined Repeat sampling locations and justification for why those repeat locations were chosen. Attach a map with this plan. The map must include the water system name and identification (PWS) number, clearly labeled coliform sampling locations and clearly labeled groundwater source water sampling tap location(s) (if the system utilizes groundwater-wells), connections served by the system, directional flow of the system and major water system components such as: all sources, treatment facilities, storage tanks, , and major distribution lines.

Repeat Sampling: If the system has a total coliform or E. coli presence in a routine compliance sample, collection of 3 repeat samples is required for each routine positive sample within 24 hours. That means if two routine monthly samples are positive in a month, the system is required to take six repeat samples, three samples for each routine positive sample. Repeat sampling locations include: Repeat Sample #1 at the location where the original positive sample was taken; Repeat Sample location #2 within 5 connections upstream (toward from the well/source of water) of the original positive; and Repeat Sample location #3 within 5 connections downstream (away from the well/source of water). This form allows a system to list all 5 connections upstream/downstream although only one location is required. All sample locations used for compliance purposes under the Revised Total Coliform Rule must be identified on this form. Groundwater Systems or surface water systems that also use groundwater are also required to take triggered source water samples from each groundwater source that was active at the time of the routine positive as required by the Groundwater Rule.

All repeat samples must be taken within 24 hours once you have received notification from the laboratory.

Please contact our office to determine if a Level 1 or Level 2 Assessment will also be required.

Revised 9/9/2015 	1

|  | Routine Location Address | Justification | 5 Connections Upstream For repeat locations Numbers 2 – 5 are optional | 5 Connections Downstream For repeat locations Numbers 2 – 5 are optional | Table 1 – Sampling Locations |
| --- | --- | --- | --- | --- | --- |
| 1 | Routine Location 1 |  | 1 | 1 |  |
|  |  |  | 2 | 2 |  |
|  |  |  | 3 | 3 |  |
|  |  |  | 4 | 4 |  |
|  |  |  | 5 | 5 |  |
| 2 | Routine Location 2: |  | 1 | 1 |  |
|  |  |  | 2 | 2 |  |
|  |  |  | 3 | 3 |  |
|  |  |  | 4 | 4 |  |
|  |  |  | 5 | 5 |  |
| 3 | Routine Location 3: |  | 1 | 1 |  |
|  |  |  | 2 | 2 |  |
|  |  |  | 3 | 3 |  |
|  |  |  | 4 | 4 |  |
|  |  |  | 5 | 5 |  |
| 4 | Routine Location 4: |  | 1 | 1 |  |
|  |  |  | 2 | 2 |  |
|  |  |  | 3 | 3 |  |
|  |  |  | 4 | 4 |  |
|  |  |  | 5 | 5 |  |
| 5 | Routine Location 5: |  | 1 | 1 |  |
|  |  |  | 2 | 2 |  |
|  |  |  | 3 | 3 |  |
|  |  |  | 4 | 4 |  |
|  |  |  | 5 | 5 |  |
| 6 | Routine Location 6: |  | 1 | 1 |  |
|  |  |  | 2 | 2 |  |
|  |  |  | 3 | 3 |  |
|  |  |  | 4 | 4 |  |
|  |  |  | 5 | 5 |  |
| 7 | Routine Location 7: |  | 1 | 1 |  |
|  |  |  | 2 | 2 |  |
|  |  |  | 3 | 3 |  |
|  |  |  | 4 | 4 |  |
|  |  |  | 5 | 5 |  |

Instructions:  The locations for all routine samples taken for compliance purposes must be identified in this table.  1) List up to 7 routine monitoring locations. If more space is needed, attach additional sheets. Systems over 5,800 in population may submit a custom sampling plan in lieu of this form or attach additional sheets. These are the locations where the required routine monthly compliance samples are to be collected. If possible, list the 911 addresses for each location. If 911 addresses are not available, list where the samples are taken;   2)  Explain why the system chooses to sample at each routine location under the “Justification” column;  and 3)  List at least 1 and up to 5 repeat locations within 5 connections upstream and 5 connections downstream of each Routine sampling location listed.

Table 2 – Monthly Monitoring

To be completed by all public water systems serving more than 1,000 users. Systems can list up to six routine samples each month on this form.  If the system serves a population of over 5,800, submit a custom plan

identifying routine sampling locations to be taken each month.

| Month |  | Routine Sampling Locations |
| --- | --- | --- |
| January | 1 | 4 |
|  | 2 | 5 |
|  | 3 | 6 |
| February | 1 | 4 |
|  | 2 | 5 |
|  | 3 | 6 |
| March | 1 | 4 |
|  | 2 | 5 |
|  | 3 | 6 |
| April | 1 | 4 |
|  | 2 | 5 |
|  | 3 | 6 |
| May | 1 | 4 |
|  | 2 | 5 |
|  | 3 | 6 |
| June | 1 | 4 |
|  | 2 | 5 |
|  | 3 | 6 |
| July | 1 | 4 |
|  | 2 | 5 |
|  | 3 | 6 |
| August | 1 | 4 |
|  | 2 | 5 |
|  | 3 | 6 |
| September | 1 | 4 |
|  | 2 | 5 |
|  | 3 | 6 |
| October | 1 | 4 |
|  | 2 | 5 |
|  | 3 | 6 |
| November | 1 | 4 |
|  | 2 | 5 |
|  | 3 | 6 |
| December | 1 | 4 |
|  | 2 | 5 |
|  | 3 | 6 |

Revise12/28/15	3

Table 4 – Groundwater Rule Source Information

Does your system use a groundwater source (well) that does not have 4-log inactivation treatment for viruses:	Yes	No

If yes, provide the names/numbers of groundwater sources (wells, springs, etc.) and the source sample tap location where each source may be sampled prior to any treatment

Assessment samples must be taken at the same time as the routine compliance samples and for each total coliform positive sample.

Source Name/Number	Description of location of raw water sample tap

Source :

Source 2 (if applicable) Source 3 (if applicable) Source 4 (if applicable)

Checklist Prior to Form Submission:

A map, including the following information:

Water system name and identification (PWS) number,

Clearly labeled coliform sampling locations that are included in this plan,

Clearly labeled groundwater source sample tap locations (raw wells),

Locations served by the system,

Directional flow of the system, and

All major water system components such as:

Sources,

Treatment facilities,

Storage tanks,

Pump stations,and

Major distribution lines.

All required tables are complete, including:

Complete basic system information on page 1,

Justification for each routine sampling location,

At least one repeat location within 5 connections upstream and 5 connections downstream of each routine location,

Monthly routine Sampling locations identified as required in Table 2,

All ground water sources and source sample tap locations identified in Table 3.

Make and retain a copy of this plan for Water System records.

| Signature of System Owner or Administrative Contact |
| --- |
| I have read the Coliform Sampling Plan Guidance document and certify that the above information is true and accurate to the best of my knowledge. |
| Signature: | Date: |
| Printed Name: | Title: |

Return this form to:

Department of Health - Hillsborough Environmental Health - Safe Drinking Water 1105 E Kennedy Blvd

Tampa, FL  33602

Phone: 813-307-8059

Fax: 813-272-7242

Directions

COLIFORM SAMPLING PLAN GUIDANCE

The Revised Total Coliform Rule requires all public water systems to sample in accordance with a written sampling plan subject to review, revision and approval by the Fl orida Department of Health - Hillsborough. The purpose of the sampling plan is to ensure that sample locations monitored for contamination represent the entire distribution system..

Instructions for completing the tables

Table 1:  This table is intended to list all possible routine coliform monitoring locations within a water system.

Wherever possible utilize the 911 address for each sample location.  These locations should not be located at the far ends of lines, to allow for repeat locations to be further downstream than the routine sample location.  In  the

“justification” column,  identify why each  location  has been  selected  for  sampling.   Possible justification for sampling locations can be: “center of distribution”, “hospital with vulnerable population”, “west end of distribution”, “high pressure zone”, “low pressure zone”, etc. in order to capture the population served by the

system, and potential changes in water quality that may arise throughout the distribution system.

Table 2: This table identifies sampling locations for a system sampling up to six locations per month. If additional space is needed to accommodate more monthly samples, please submit a custom sampling plan to the Fl orida Department of Health - Hillsborough for review and approval. Locations must either alternate each month or if you have less locations than the amount of samples you are required to collect you may repeat from month to month.  The locations must represent the entire distribution system.

Table 3:  Identifies groundwater source water sample tap locations.	This must  be completed by groundwater systems or systems that blend surface water and ground water.

Routine Monthly Sampling Frequency

| Population | Number of Samples Population | Number of Samples |
| --- | --- | --- |
| 25 – 1,000 | 1 | 7,601 – 8,500 | 9 |
| 1,001 – 2,500 | 2 | 8,501 – 12,900 | 10 |
| 2,501 – 3,300 | 3 | 12,901 – 17,200 | 15 |
| 3,301 – 4,100 | 4 | 17,201 – 21,500 | 20 |
| 4,101 – 4,900 | 5 | 21,501 – 25,000 | 25 |
| 4,901 – 5,800 | 6 | 25,001 – 33,000 | 30 |
| 5,801 – 6,700 | 7 | 33,001 – 40,000 | 40 |
| 6,701 – 7,600 | 8 | 40,001 – 50,000 | 50 |

Distribution Sampling Location and Rationale

Locate a compliance sample location near the center of the distribution system, either geographically or based on the population center of the system if the two are different. Select additional sample locations, based on the complexity of the water system and the availability of suitable sampling locations, to represent the entire distribution system. All samples collected at these locations are considered distribution samples and must be denoted as such on the laboratory sample collection / chain-of-custody forms.

Please note that if there is more than one pressure zone, each zone must have a sample that is representative of that zone.  Different pressure  zones  create isolation  zones  from the  rest of  the system which  may  produce  areas of vulnerability.  These locations must be listed as Routine Sampling locations in Table 1.

Sample Collection and submittal to the Laboratory

Refer to the laboratory’s sampling instructions for important collection information. T he chlorine residual must be measured at the time when the coliform sample is collected and recorded on the sample collection/chain-of-custody form that is submitted with the coliform sample to the laboratory. Identify sample locations on the form using the 911 address wherever possible. The Potable Water System (PWS) Number must be included on  the sample collection  /chain-of- custody form as well as other sample identification information. This information is listed on the system monitoring schedule issued by the Department (Facility ID, Sample Point ID). Remember to record the coliform sample type.

Repeat Samples

If the system receives a positive result during routine monitoring, collection of three repeat samples within 24 hours of notification of the positive  result is required. Systems need to take  three repeat samples for each positive routine sample. Always keep sufficient sample bottles on hand at any given time so that the system is able to collect repeat samples within the 24-hour time requirement. The Revised Total Coliform Rule requires that the extent and severity of the contamination be examined through the repeat sampling. All repeat samples must be taken on the same day. The system must take:

One sample from the original sample location.

One sample from a tap within five connections upstream of the original sample point.

One sample from a tap within five connections downstream of the original sample point.

If the system is served by groundwater, then a source sample will be required from each source that was active as of

the time of the routine positive sample for Groundwater Rule compliance purposes.

Systems serving more than 5,800 users may choose to follow the above requirements for repeat samples or submit a Standard Operating Procedure that identifies pre-determined repeat sampling locations  along  with  the  justification behind why the system has selected these repeat locations. The Department will review and consider this Standard Operating Procedure as part of the overall approval of the coliform sampling plan.

Return to Routine Monitoring Schedule

Systems sampling on a monthly schedule do not have any special sampling requirements during the month following a coliform positive sampling result; systems resume normal monthly monitoring at the approved sampling locations and frequency the next month.

This form and related environmental information are available electronically via the internet.  For information visit the Florida Department of Health- Hillsborough County Homepage at http://hillsborough.floridahealth.gov

Florida Department of Health Hillsborough County 1105 E. Kennedy Blvd

Tampa, FL 33602